## Methods used in labs FASFC
Code I-MET | Code 2015/I-MET | Validation file | Matrix/Matrix group | Parameter group/Parameter | Technique | Kind of method | Accreditation | Lab | Date of application | Version | Film available
I-MET-LFSAL-099 & 099a | 2008/I-MET099&099a/LAB/LFSAL | Determination of avermectins and milbemycins in liver by HPLC-FLUO | Liver | Avermectins | HPLC | In house method | Yes | Liège | 2019-10-22 | 9 | Yes
I-MET-FLVVT-136 |  | Determination of zearalenone in cereals and derived products with HPLC | Cereals and derived products | Mycotoxins | HPLC | In house method | Yes | Tervuren | 2012-12-05 | 3 | Yes
I-MET-FLVVM-034 | 2018/I-MET-037-034/LAB/LFSAGx-FLVVM | Detection of Salmonella spp. in animal faeces and in environmental samples from the primary production stage | Abrasive sponges and environmental samples at the stage of primary production | Salmonella | Detection on plate after enrichment | Official method | Yes | Melle | 2018-09-10 | 1
I-MET-LFSAGX-064 |  | Detection of Cronobacter sakazakii in milk and milk products | Milk and milk products | Cronobacter sakazakii | Detection on plate after enrichment | Official method | Yes | Gembloux | 2008-05-15 | 2
I-MET-LFSAGX-047b |  | Detection of Enterobacteriaceae in milk and milk products | Milk and milk products | Enterobacteriaceae | Detection on plate after enrichment | Official method | Yes | Gembloux | 2012-03-01 | 2
I-MET-LFSAGX-037a&b |  | Detection of Salmonella spp. in animal faeces and in environmental samples from the primary production stage | Abrasive sponges and in mesenteric lymph nodes from pig carcasses, animal feces, environmental samples at the stage of primary production | Salmonella | Detection on plate after enrichment | Official method | Yes | Gembloux | 2012-03-01 | 5
I-MET-LFSAL-025b | 2012/I-MET-025B/LAB/LFSAL | Determination of histamine in fish samples bu HPLC-UV | Fishes | Histamine | HPLC-UV | In house method | Yes | Liège | 2016-06-23 | 4 | Yes
I-MET-LFSAL-003 | 2006/I-MET-003/LAB/LFSAL | Determination of crude protein in feed | Feed | Crude protein | Kjeldahl | Derived method | Yes | Liège | 2019-10-16 | 14 | Yes
I-MET-LFSAGX-036d&e |  | Detection of Salmonella spp (RT-PCR) | Food, feed | Salmonella | RT-PCR | Official method | Yes | Gembloux | 2005-06-01 | 3
I-MET-FLVVM-030 | 2017-I-MET30-LAB-FLVVM | aw determination in food | Food | aw | Water activity meter | Official method | Yes | Melle | 2019-05-22 | 2
I-MET-FLVVT-125 | 2017/I-MET-125/LAB/FLVVT | Determination of Glyceroltriheptanoate | Meat and Bone Meal and Animal Fat | GTH | GC-MS | Derived method | Yes | Tervuren | 2017-09-25 | 6
I-MET-FLVVT-111 |  | Microscopic identification and determination of ergot (sclerotia of Claviceps purpurea Tul.) in cereals | Cereals and derived products | Ergot du seigle | Microscopie | Derived method | Yes | Tervuren | 2011-12-23 | 6
I-MET-FLVVT-083 | 2015/I-MET-083/LAB/FLVVT | Determination of aflatoxin in animal feed, cereals, nuts and derived products and aflatowin B1 in baby food | Animal feed, nuts, cereals, baby food | Aflatxoxine | HPLC | Official method | Yes | Tervuren | 2015-05-10 | 6 | Yes
I-MET-FLVVT-090 | 2015/I-MET-090/LAB/FLVVT | Microscopic identification and determination of meat and bone meal in animal feed | Animal feed | Farine animale | Microscopie | Official method | Yes | Tervuren | 2015-09-15 | 8
I-MET-FLVVT-108 |  | Determination of Fumonisin B1, B2 en B3 in cereals and cereal products | Cereals and cereal products | Fumonisine | HPLC | Derived method | Yes | Tervuren | 2014-10-10 | 6
I-MET-FLVVT-011 |  | Determination of T-2 and HT-2 toxin in cereals | Cereals | T-2/HT2-toxine | HPLC | Derived method | Yes | Tervuren | 2014-09-30 | 5
I-MET-FLVVT-006 |  | Determination of residues of organochlorine pesticides | Animal feed, milk products with >2% fat, fish, fat, vegetables, fruit | Pesticides organochlorés | GC | Derived method | Yes | Tervuren | 2013-07-29 | 8 | Yes
I-MET-FLVVM-039 | 2018/I-MET-036d-039/LAB/LFSAGx-FLVVM | Detection of Salmonella spp (RT-PCR) | Food, feed | Salmonella | RT-PCR | Official method | Yes | Melle | 2018-09-10 | 1
I-MET-LFSAGx-048a |  | Enumeration of microoganisms (30°) | food | microorganisms | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAL-004-005 | 2017/I-MET-004-005/LAB/LFSAL | Determination the crude fat content in the feed | livestock feed | Crude fat | Gravimetry | Official method | Yes | Liège | 2020-07-30 | 14
I-MET-LFSAL-046 | 2005/I-MET-046/LAB/LFSAL | Determination the nitric nitrogen content in fertilizers | Fertilizers | Nitric nitrogen | Schloesing | Official method | Yes | Liège | 2018-05-18 | 7
I-MET-LFSAL-045 | 2005/I-MET-045/LAB/LFSAL | Determination the ammonia nitrogen cold in fertilizers | Fertilizers | Ammonia nitrogen | Cold diffusion | Official method | Yes | Liège | 2015-02-23 | 9
I-MET-LFSAL-002 | 2004/I-MET-002/LAB/LFSAL | Determination the crude fiber content in the feed | livestock feed | crude fiber | Gravimetry | Official method | Yes | Liège | 2020-04-27 | 10
I-MET-FLVVT-103 |  | Determination of dioxins and dioxin-like compounds (PCDD's et PCDF's) and of non-ortho- and mono-ortho PCBs by bioassay based on total BEQ calculation | Animal Feed, Milk, Eggs, Fat, Fish | Dioxins and dioxin-like compounds (PCDD's et PCDF's) and non-ortho- and mono-ortho PCBs | Bioassay | Derived method | Yes | Tervuren | 2015-08-28 | 7
I-MET-FLVVM-048 | 2019/I-MET032-048/LAB/LFSAGx-FLVVM | Enumeration of yeasts and moulds (25 °C) | Food | Gisten en schimmels | Isolation on solid medium | Official method | Yes | Melle | 2020-03-25 | 2 | Yes
I-MET-LFSAL-122 |  | Determination of propionic acid | Bread | Propionic acid | GC-FID | In house method | Yes | Liège | 2012-12-01 | 5
I-MET-FLVVT-107 | 2017/I-MET-107/LAB/FLVVT | Determination of Polycyclic Aromatic Hydrocarbons | Feed, milk products, fish, vegetables and fruits, | PAHs | GC-MS | Derived method | Yes | Tervuren | 2021-01-25 | 10 | Yes
I-MET-FLVVM-046 | 2019/I-MET-046b-046/LAB/LFSAGx-FLVVM | Enumeration of B-glucuronidase-positive Escherichia coli | Food, Feed, Swabs (Carcasses) | Escherichia coli | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1 | Yes
I-MET-LFSAGx-038b |  | Enumeration of coagulase-positive staphylococci (37°C) | Food | Coagulase-positive staphylococci | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3 | Yes
I-MET-LFSAGx-036a |  | Detection of Salmonella spp (ISO-6579) | Food | Salmonella | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 4 | Yes
I-MET-FLVVT-031 |  | Determination of Amoxicillin in animal feed | Feed | Amoxicilline | HPLC | In house method | Yes | Tervuren | 2014-04-08 | 3
I-MET-FLVVT-091 |  | Determination of Doxycyclin, Tetracyclin, Oxytetracyclin and Chlortetracylin in animal feed (HPLC) | Feed | Doxycycline, Tetracycline, Oxytetracycline, Chloortetracycline | HPLC | In house method | Yes | Tervuren | 2012-02-28 | 2
I-MET-FLVVT-097 | 2017/I-MET-097/LAB/FLVV | Determination of Monensin, Salinomycine and Narasin (ionophore antibiotics) in animal feed (HPLC) | Feed | Monensin, Salinomycine, Narasin | HPLC | Official method | Yes | Tervuren | 2017-12-01 | 3
I-MET-FLVVT-142 |  | Determination of Sulfadiazin and Trimethoprim in Animal Feed | Feed | Sulfadiazine, Trimethoprim | HPLC | Official method | Yes | Tervuren | 2014-10-30 | 3
I-MET-LFSAL-0404 |  | Detection of residues of 13 organophosphorus pesticides with GC-MS Screening method at 10 µg/kg | In animal matrices : liver, muscle, fish, milk, cheese, butter, egg, honey. | Residues of organophosphorus pesticides | GC-MS | In house method | Yes | Liège | 2014-08-14 | 9 | Yes
I-MET-LFSAL-120a | 2012/I-MET-120A/LAB/LFSAL | Determination of aromatic amines with UPLC-MS/MS | Polyamides | 2,4 - TDA, 4,4 MDA, Aniline | UPLC-MS/MS | In house method | Yes | Liège | 2018-07-06 | 9
I-MET-LFSAL-006 | 2004/I-MET-006/LAB/LFSAL | Determination of crude ash content in feed | Livestock feed | Crude ash | Calcination | Official method | Yes | Liège | 2019-11-21 | 14
I-MET-LFSAL-007-008 | 2004/I-MET-007-008/LAB/LFSA | Determination of moisture content in feed and bread | Livestock feed | Moisture | Evaporation | Official method | Yes | Liège | 2020-07-30 | 9
I-MET-LFSAL-0044 | 2005/I-MET-044/LAB/LFSAL | Determination of ammoniacal nitrogen content in fertilizers: Method by distillation | Fertilizers | Ammoniacal nitrogen | Kjeldahl | Official method | Yes | Liège | 2018-12-06 | 6
I-MET-LFSAL-012 | 2006/I-MET-012/LAB/LFSAL | Determination of ash insoluble in hydrochloric acid in the feed | Livestock feed | Insoluble ash | Calcination | Official method | Yes | Liège | 2018-08-24 | 9
I-MET-LFSAL-050 | 2005/I-MET-050/LAB/LFSAL | Determination of total nitrogen (Devarda) in fertilizer and soil improvers | Fertilizers | Total nitrogen | Kjeldahl | Official method | Yes | Liège | 2018-12-06 | 5
I-MET-LFSAL-048 | 2005/I-MET-048/LAB/LFSAL | Determination of total nitrogen by SnCl2 in fertilizer and soil improvers | Fertilizers | Total nitrogen | Kjeldahl | Official method | Yes | Liège | 2019-12-05 | 11
I-MET-LFSAGX-065 |  | Enumeration of culturable micro-organisms (22°C) (water) | Water | Micro-organisme | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAGX-066-071-071a |  | Enumeration of entreococci and streptococci | Water | Enterococci - Streptococci | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAGX-067 |  | Enumeration of clostridia | Water | Clostridia | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAGX-068 |  | Enumeration of Pseudomonas | Water | Pseudomonas | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAGX-069-70-70a |  | Enumeration of coliform and E coli | Water | Coliform - E coli | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-LFSAGX-072 |  | Enumeration of culturable micro-organisms (36°C) (water) | Water | Micro-organisme | Isolation on solid medium | Official method | Yes | Gembloux | 2012-03-01 | 3
I-MET-FLVVG-142 | 2015/I-MET-142/LAB/FLVVG | Screening of tetracyclines with tetrasensor | Honey | Tetracyclines | Tetrasensor | In house method | Yes | Gentbrugge | 2015-07-08 | 9
I-MET-FLVVM-020 | 2019/I-MET-038b-020/LAB/LFSAGx-FLVVM | Enumeration of coagulase-positive staphylococci (37°C) | Food | Coagulase-positive staphylococci | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1 | Yes
I-MET-FLVVM-026 | 2018/I-MET-047-026/LAB/LFSAGx-FLVVM | Enumeration of Enterobacteriaceae (30 °C) | Food, Feed, Swabs (Carcasses) | Enterobacteriaceae | Isolation on solid medium | Official method | Yes | Melle | 2018-08-22 | 1
I-MET-FLVVM-017 | 2019-I-MET-048a-017-LAB-LFSAGx-FLVVM | Enumeration of micro-organisms (30°) | Food, Feed, Swabs (Carcasses) | Microorganisms | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVG-190 | 2016/I-MET-190/LAB/FLVVG | Food - Quantitative determination of Aluminium with ICPOES after microwave pressure digestion | Food | Metals/Aluminium | ICPOES | Derived method | Yes | Gentbrugge | 2019-12-02 | 8
I-MET-FLVVT-096 |  | Determination of deoxynivalenol (DON) in animal feed, food and beer with HPLC | Animal feed - Food | Deoxynivalenol | HPLC-UV | Derived method | Yes | Tervuren | 2014-09-30 | 6
I-MET-LFSAL-086 | 2006/I-MET-086/LAB/LFSAL | Analysis of ethyl carbamate in fermented beverages with GC-MS | Fermented beverages | Ethyl carbamate | GC-MS | In house method | Yes | Liège | 2019-10-21 | 17
I-MET-FLVVM-070 | 2015/I-MET070/LAB/FLVVM | Calibration of thermometers with external measuring element |  |  | Comparison with a reference thermometer | In house method | Yes | Melle | 2017-09-11 | 3
I-MET-FLVVM-071 | 2015/I-MET071/LAB/FLVVM | Verification of infrared thermometers |  |  | Comparison with a reference thermometer | In house method | Yes | Melle | 2015-05-11 | 1
I-MET-FLVVM-072 | 2016/I-MET072/LAB/FLVVM | Calibration of temperature loggers with internal measuring element |  |  | Comparison with a reference thermometer | In house method | Yes | Melle | 2017-11-01 | 2
I-MET-LFSAL-119 | 2010/I-MET-119/LAB/LFSAL | Determination of formaldehyde by HPLC-UV | Melamine food contact materials | Formaldehyde | HPLC-UV | In house method | Yes | Liège | 2017-07-24 | 8
I-MET-FLVVT-140 | 2016/I-MET-140/LAB/FLVVT | Determination of pyrethroids | meat - fish | Pyrethroids | GC-MS | Derived method | Yes | Tervuren | 2021-03-15 | 8
I-MET-FLVVT-016 |  | Determination of vitamin E (dl-alpha-tocopherol) in animal feeds (HPLC) | Animal feed | Vitamins | HPLC-UV | Official method | Yes | Tervuren | 2014-09-10 | 5
I-MET-FLVVT-036 |  | Determination of vitamin A (retinol) in animal feeds (HPLC) | Animal feed | Vitamins | HPLC-UV | Official method | Yes | Tervuren | 2013-07-15 | 4
I-MET-FLVVM-024 | 2018-I-MET-034-024-LAB-LFSAGx-FLVVM | Detection of Listeria monocytogenes with VIDAS | Foodstuffs | Listeria monocytogenes | VIDAS | Official method | Yes | Melle | 2020-04-27 | 2
I-MET-LFSAGx-033 |  | Enumeration of Listeria monocytogenes | Foodstuffs | Listeria monocytogenes | Isolation on plate | Official method | Yes | Gembloux | 2013-08-09 | 1
I-MET-LFSAGx-034 |  | Detection of Listeria monocytogenes with VIDAS | Foodstuffs | Listeria monocytogenes | VIDAS | Official method | Yes | Gembloux | 2013-08-08 | 2
I-MET-LFSAGx-035d |  | Detection of E coli O157 with VIDAS | Foodstuffs | E coli O157 | VIDAS | Official method | Yes | Gembloux | 2013-04-01 | 4
I-MET-FLVVT-099 | 2018/I-MET-099/LAB/FLVVT | Determination of polychlorinated biphenyls | Animal feed, milk products with >2% fat, fish, fat, vegetables, fruit | PCB's | GC-ECD - GC-MS | Derived method | Yes | Tervuren | 2021-04-06 | 13
I-MET-LFSAL-115 | 2009/I-MET-115/LAB/LFSAL | Determination of phosphates by HPLC-CI | Soft drinks | Phosphates | HPLC-CI | In house method | Yes | Liège | 2018-09-20 | 7
I-MET-LFSAGx-081 |  | Diagnostic and detection of Clavibacter michiganensis | Potato | Clavibacter michiganensis | Isolation on plate + PCR | Official method | Yes | Gembloux | 2013-08-20 | 4
I-MET-LFSAGx-082 |  | Diagnostic and detection of Ralstonia solanacearum | Potato | Ralstonia solanacearum | Isolation on plate + PCR | Official method | Yes | Gembloux | 2013-08-20 | 4
I-MET-LFSAL-085 | 2008/I-MET-085/LAB/LFSAL | Determination of lactic acid in egg products | Egg products | Lactic acid | Enzymatic | In house method | Yes | Liège | 2018-03-21 | 6
I-MET-LFSAL-087 | 2009/I-MET-087/LAB/LFSAL | Determination of beta-hydroxybutyric acid in in egg products | Egg products | Beta-hydroxybutyric acid | Enzymatic | In house method | Yes | Liège | 2017-01-16 | 5
I-MET-LFSAL-090 | 2008/I-MET-090/LAB/LFSAL | Determination of glutamic acid | Foodstuffs | Glutamic acid | Enzymatic | In house method | Yes | Liège | 2018-03-21 | 6
I-MET-FLVVM-053 | 2018-I-MET-046c-053-LAB-LFSAGx-FLVVM | Enumeration of E. coli with TEMPO (37 °C) | Food | E. coli | TEMPO | Official method | Yes | Melle | 2018-10-10 | 1
I-MET-FLVVM-054 | 2018-I-MET-047c-054-LAB-LFSAGx-FLVVM | Enumeration of Enterobacteriaceae with TEMPO (35 °C) | Food | Enterobacteriaceae | TEMPO | Official method | Yes | Melle | 2018-10-10 | 1
I-MET-FLVVM-055 | 2018-I-MET-038c-055-LAB-LFSAGx-FLVVM | Enumeration of coagulase-positive staphylococci with TEMPO (37°C) | Food | Coagulase-positive staphylococci | TEMPO | Official method | Yes | Melle | 2018-10-10 | 1
I-MET-LFSAGX-079 |  | Detection of Vibrio parahaemolyticus | Mollusk, crustacean | Vibrio parahaemolyticus | Isolation on solid medium | Official method | Yes | Gembloux | 2010-10-07 | 3
I-MET-LFSAGX-080 |  | Detection of Vibrio cholerae | Mollusk, crustacean | Vibrio cholerae | Isolation on solid medium | Official method | Yes | Gembloux | 2010-10-07 | 3
I-MET-FLVVG-043 | 2015/I-MET-043/LAB/FLVVG | Determination of sedatives with LC-MS | Meat and kidney | Sedatives | LC-MS | In house methode | Yes | Gentbrugge | 2016-09-27 | 6
I-MET-FLVVT-058 |  | Screening of antibacterial substances in animal feed (7 plates - bio-autographic system) | Animal feed | Antibiotics | 7 plates - bio-autographic system | Derived method | Yes | Tervuren | 2014-02-27 | 4
I-MET-FLVVT-021 | 2015/I-MET-021/LAB/FLVVT | Determination of the moisture content in feed | Animal feed | Moisture | Gravimetry | Official method | Yes | Tervuren | 2015-04-30 | 4
I-MET-FLVVT-055 | 2015/I-MET-055/LAB/FLVVT | Determination of the crude fat content in feed | Animal feed | Fat | Gravimetry | Official method | Yes | Tervuren | 2014-04-28 | 3
I-MET-LFSAGX-047c |  | Enumeration of Enterobacteriaceae with TEMPO (35 °C) | Food | Enterobacteriaceae | TEMPO | Official method | Yes | Gembloux | 2012-08-10 | 2
I-MET-LFSAGX-046c |  | Enumeration of E. coli with TEMPO (37 °C) | Food | E. coli | TEMPO | Official method | Yes | Gembloux | 2012-08-03 | 2
I-MET-LFSAGX-038c |  | Enumeration of coagulase-positive staphylococci with TEMPO (37°C) | Food | Coagulase-positive staphylococci | TEMPO | Official method | Yes | Gembloux | 2012-08-09 | 2
I-MET-LFSAGX-048b |  | Enumeration of micro-organisms with TEMPO (30 °C) | Food | Total count | TEMPO | Official method | Yes | Gembloux | 2012-08-09 | 2
I-MET-FLVVG-176 | 2015/I-MET-176/LAB/FLVVG | Determination of antibiotics with LC-MS | Meat | Antibiotics | LC-MS | In house method | Yes | Gentbrugge | 2017-06-14 | 8
I-MET-LFSAGX-031 |  | Enumeration of Bacillus cereus (30 °C) | Food | Bacillus cereus | Isolation on solid medium | Official method | Yes | Gembloux | 2013-10-15 | 5
I-MET-LFSAL-033 | 2006/I-MET-033/LAB/LFSAL | Detection of irradiated foods | Food | Irradiation | Thermoluminescence | Derived method | Yes | Liège | 2020-04-01 | 7
I-MET-FLVVM-029 | 2018-I-MET-041d-029-LAB-LFSAGX-FLVVM | Enumeration of Campylobacter spp. (41,5 °C) | Food | Campylobacter spp. | Isolation on solid medium | Official method | Yes | Melle | 2018-08-22 | 1
I-MET-FLVVT-139 |  | Determination of ergot alkaloids in cereals and derived products with HPLC. | Cereals and derived products | Alkaloids | HPLC | In house method | Yes | Tervuren | 2014-09-30 | 3
I-MET-FLVVT-033 | 2019/I-MET-033/LAB/FLVVT | Determination of flubendazole in animal feed | Animal feed | Flubendazole | HPLC | Derived method | Yes | Tervuren | 2019-06-25 | 4
I-MET-FLVVG-047 |  | Determination of streptomycine en dihydrostreptomycine with EIA | Honey and meat | Streptomycine and dihydrostreptomycine | EIA | In house method | Yes | Gentbrugge | 2013-06-25 | 8
I-MET-FLVVM 032 | 2018-I-MET-033-032-LAB-LFSAGx-FLVVM | Enumeration of Listeria monocytogenes | Food | Listeria monocytogenes | Isolation on solid medium | Official method | Yes | Melle | 2018-08-22 | 1
I-MET-LFSAGX-032 |  | Enumeration of yeasts and moulds (25 °C) | Food | Yeast and molds | Isolation on solid medium | Official method | Yes | Gembloux | 2012-12-12 | 2
I-MET-FLVVT-023 | 2017/I-MET-023/LAB/FLVVT | Screening of veterinary drugs in animal feed (Chemical additives) | Animal feed | Detection additives / veterinary drugs | UPLC | In house method | Yes | Tervuren | 2017-05-15 | 5
I-MET-FLVVM 052 | 2015/I-MET052/LAB/FLVVM | Detection of Globodera in soil | Soil | Globodera | Extraction and microscopy | Official method | Yes | Melle | 2020-01-13 | 6
I-MET-FLVVM 033 | 2019-I-MET-031-033-LAB-LFSAGx-FLVVM | Enumeration of presumptive Bacillus cereus (30 °C) | Food | Bacillus cereus | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVM 076 | 2019-I-MET-069b-076-LAB-LFSAGx-FLVVM | Enumeration of coliforms and E. coli with Rapid E. coli agar (36 °C) | Ice | Coliforms - E. coli | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVG-224 | 2016/I-MET-224/LAB/FLVVG | Food - Quantitative determination of AsB, DMA, MMA, and inorganic arsenic (iAs = AsV+AsIII) by HPLC-ICP-MS after extraction bath | Food | Inorganic arsenic | HPLC-ICPMS | Derived method | Yes | Gentbrugge | 2017-06-06 | 5
I-MET-FLVVG-207 | 2017/I-MET-207-208/LAB/FLVVG | Food - Quantitative determination of minerals and phosphorus by ICP-OES | Food | Minerals and phosphor | ICPAES | Derived method | Yes | Gentbrugge | 2019-09-12 | 7
I-MET-FLVVG-191 | 2017/I-MET-191/LAB/FLVVG | Animal feed - Determination of fluorine after treatment with HCl by ISE (Ion Selective Electrode) | Animal feed | Halogens / Fluor | Potentiometry | Derived method | Yes | Gentbrugge | 2017-10-17 | 2
I-MET-FLVVG-217 | 2017/I-MET-217/LAB/FLVVG | Water - Determination of anions by ionchromatography | Water | Anions | Ionchromatography | Derived method | Yes | Gentbrugge | 2017-09-05 | 8
I-MET-FLVVM 074 |  | Detection of Campylobacter with VIDAS | Food | Campylobacter spp. | VIDAS and isolation ons solid medium | 2014-02-10 | Yes | Melle | 2014-02-10 | 4
I-MET-FLVVG-199-201 | 2016/I-MET-199-200-201/LAB/FLVVG | Contact Materials - Migration ceramic objects and determination of Alumina, Arsenic, Cadmium, Cobalt, Chromium, Copper, Lead, Nickel and Antimony in migration solution by ICP-AES | Contact materials | Metals | ICPAES | Derived method | Yes | Gentbrugge | 2019-06-20 | 6
I-MET-FLVVG-072 | 2017/I-MET-072/LAB/FLVVG | Animal feed - Determination of arsenic, lead, cadmium, lead, nickel and selenium by ICP-AES | Animal feed | Metals / As-Pb-Cd-Ni-Se | ICP-AES | Derived method | Yes | Gentbrugge | 2020-02-25 | 7
I-MET-FLVVT-105 | 2021/I-MET-105/LAB/FLVVT | Determination of residues of coccidiostatics in food with LC-MS | Food | Coccidiostatics | LC-MS | Derived method | Yes | Tervuren | 2021-03-15 | 8
I-MET-FLVVT-032 |  | Determination of avilamycin in animal feed | Animal feed | Avilamycin | Agar diffusion | Derived method | Yes | Tervuren | 2014-07-01 | 3
I-MET-FLVVT-043 |  | Determination of lincomycin in animal feed | Animal feed | Lincomyci | Agar diffusion | Derived method | Yes | Tervuren | 2013-07-01 | 2
I-MET-FLVVT-044 |  | Determination of avoparcin in animal feed | Animal feed | Avoparcin | Agar diffusion | Derived method | Yes | Tervuren | 2014-07-01 | 3
I-MET-FLVVT-046 |  | Determination of virginiamycin in animal feed | Animal feed | Virginiamycin | Agar diffusion | Derived method | Yes | Tervuren | 2014-07-01 | 3
I-MET-FLVVT-047 |  | Determination of zinc bacitracin in animal feed | Animal feed | Zinc bacitracin | Agar diffusion | Derived method | Yes | Tervuren | 2013-07-01 | 2
I-MET-FLVVT-048 |  | Determination of tylosin in animal feed | Animal feed | Tylosin | Agar diffusion | Derived method | Yes | Tervuren | 2013-07-01 | 3
I-MET-FLVVT-049 |  | Determination of flavophospholipol in animal feed | Animal feed | Flavophospholipol | Agar diffusion | Derived method | Yes | Tervuren | 2014-07-01 | 5
I-MET-LFSAGX-042 |  | Enumeration of Clostridium perfringens | Food | Clostridium perfringens | Isolation on solid medium | Official method | Yes | Gembloux | 2014-05-01 | 6
I-MET-FLVVT-026a |  | Determination of vitamin B12 (Cyanocobalamin) in food | Food | Vitamin B12 | HPLC | Derived method | Yes | Tervuren | 2012-11-06 | 2
I-MET-FLVVT-152 |  | Determination of ubiquinon in food supplements | Food supplements | Ubiquinon | HPLC | Derived method | Yes | Tervuren | 2014-01-17 | 3
I-MET-FLVVT-153 | 2019/I-MET-153/LAB/FLVVT | Determination of choline in specific foodstuffs | Food | Choline | Spectrophotometry | Derived method | Yes | Tervuren | 2019-03-31 | 4
I-MET-FLVVT-143 |  | Determination of fatsoluble vitamins in specific foodstuffs | Food | Fatsoluble vitamins | HPLC | Derived method | Yes | Tervuren | 2012-10-29 | 2
I-MET-LFSAL-130 | 2011/I-MET-130/LAB/LFSAL | Migration of melamine from melamine utensils | Materials in Melamine | Melamine | HPLC | In house method | Yes | Liège | 2019-07-05 | 8
I-MET-LFSAL-139 | 2013/I-MET139/LAB/LFSAL | Determination of acrylamid by UPLC-MS | Food | Acrylamide | UPLC-MS | In house method | Yes | Liège | 2016-08-10 | 4
I-MET-FLVVM-035 | 2019-I-MET-042-035-LAB-LFSAGx-FLVVM | Enumeration of Clostridium perfringens (37 °C) | Food | Clostridium perfringens | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVT-124 | 2021/I-MET-124/LAB/FLVVT | Determination of coccidiostatics in feed with LC-MS-MS | Animal feed | Coccidiostatics | LC-MS | Derived method | Yes | Tervuren | 2021-03-15 | 8
I-MET-LFSAGx-046a |  | Enumeration of E. coli (MPN) | Mollusc and crustacean | E. coli | Isolation on solid medium | Official method | Yes | Gembloux | 2012-10-15 | 2
I-MET-LFSAGx-046b |  | Enumeration of E. coli (ISO) | Food | E. coli | Isolation on solid medium | Official method | Yes | Gembloux | 2012-10-15 | 2
I-MET-LFSAGX-062 |  | Diagnostic and detection of Erwinia amilovora | Plants | Erwinia amilovora | Isolation on plate + PCR | Official method | Yes | Gembloux | 2014-01-14 | 8
I-MET-FLVVM-040 | 2019-I-MET-065-040-LAB-LFSAGx-FLVVM | Enumeration of culturable micro-organisms at 22°C (water) | Water | Total plate count | Isolation on solid medium | Official method | Yes | Melle | 2019-09-15 | 1
I-MET-FLVVM-044 | 2019-I-MET-072-044-LAB-LFSAGx-FLVVM | Enumeration of culturable micro-organisms at 36°C (water) | Water | Total plate count | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVM-042 | 2019-I-MET-068-042-LAB-LFSAGx-FLVVM | Enumeration of Pseudomonas | Water | Pseudomonas | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVM-045 | 2019-I-MET-071-045-LAB-LFSAGx-FLVVM | Enumeration of enterococci | Water | Enterococci | Isolation on solid medium | Official method | Yes | Melle | 2019-05-15 | 1
I-MET-FLVVG-041 | 2017/I-MET-041/LAB/FLVVG | Determination of sulfonamides, dapsone and trimethoprim with LC-MS | Meat | Antibiotics | LC-MS | In house method | Yes | Gentbrugge | 2019-03-26 | 8
I-MET-LFSAGX-047 |  | Enumeration of Enterobacteriaceae (30 °C) | Food | Enterobacteriaceae | Isolation on solid medium | Official method
I-MET-FLVVM-022 | 2018-I-MET-036a-022-LAB-LFSAGx-FLVVM | Detection of Salmonella spp. | Food, Feed, Swabs (Carcasses) | Salmonella | Detection on plate after enrichment | Official method | Yes | Melle | 2018-09-10 | 1
I-MET-FLVVG-177 | 2017/I-MET-177/LAB/FLVVG | Animal feed - Determination of arsenic, lead, cadmium, cobalt and molybdenium by ICP-MS after microwave digestion | Animal feed | Metals As-Pb-Cd-Co-Mo | ICP-MS |  | Yes | Gentbrugge | 2017-01-17 | 7
I-MET-LFSAL-031 | 2007/I-MET-031/LAB/LFSAL | Analysis of sorbic and benzoic acids in the food by HPLC | Food | Benzoic and sorbic acids | HPLC | In house method | Yes | Liège | 2019-12-19 | 14
I-MET-FLVVG-208 | 2017/I-MET-207-208/LAB/FLVVG | Food-Quantitative determination of Cu, Fe and Zn by ICP-AES | Food | Cu, Fe, Zn | ICP-AES | Derived method | Yes | Gentbrugge | 2019-09-12 | 7
I-MET-FLVVT-005 | 2017/I-MET-005/LAB/FLVVT | Determination of lasalocid-sodium in animal feeds (HPLC) | Animal feed | Lasalocid-sodium | HPLC | Derived method | Yes | Tervuren | 2017-12-01 | 5
I-MET-FLVVT-007 |  | Determination of carbadox in animal feeds (HPLC) | Animal feed | Carbadox | HPLC | Derived method | Yes | Tervuren | 2011-09-21 | 3
I-MET-FLVVT-012 | 2019/I-MET-012/LAB/FLVVT | Determination of dimetridazol in animal feeds (HPLC) | Animal feed | Dimetridazol | HPLC | Derived method | Yes | Tervuren | 2019-05-27 | 3
I-MET-FLVVT-013 |  | Determination of amprolium in animal feeds (HPLC) | Animal feed | Amprolium | HPLC | Derived method | Yes | Tervuren | 2014-01-20 | 3
I-MET-FLVVT-014 | 2019/I-MET-014/LAB/FLVVT | Determination of olaquindox in animal feeds (HPLC) | Animal feed | Olaquindox | HPLC | Derived method | Yes | Tervuren | 2019-02-14 | 3
I-MET-FLVVT-028 |  | Determination of diclazuril in animal feeds (HPLC) | Animal feed | Diclazuril | HPLC | Derived method | Yes | Tervuren | 2014-01-20 | 3
I-MET-FLVVT-029 |  | Determination of maduramicine in animal feeds (HPLC) | Animal feed | Maduramicin | HPLC | Derived method | Yes | Tervuren | 2012-04-12 | 2
I-MET-FLVVT-034 |  | Determination of dinitolmide in animal feeds (HPLC) | Animal feed | Dinitolmide | HPLC | Derived method | Yes | Tervuren | 2011-10-17 | 2
I-MET-FLVVT-035 |  | Determination of nicarbazin in animal feeds (HPLC) | Animal feed | Nicarbazin | HPLC | Derived method | Yes | Tervuren | 2013-12-10 | 3
I-MET-FLVVT-039 | 2019/I-MET-039/LAB/FLVVT | Determination of mebendazol in animal feeds (HPLC) | Animal feed | Mebendazol | HPLC | Derived method | Yes | Tervuren | 2019-02-14 | 3
I-MET-FLVVT-061 | 2019/I-MET-061/LAB/FLVV | Determination of robenidine in animal feeds (HPLC) | Animal feed | Robenidin | HPLC | Derived method | Yes | Tervuren | 2019-04-08 | 3
I-MET-FLVVG-221 | 2017/I-MET-221/LAB/FLVVG | Water-Quantitative determination of cations with IC | Water | Cations | Ionchromatography | In house method | Yes | Gentbrugge | 2017-09-05 | 3
I-MET-FLVVG-071 | 2015/I-MET-071/LAB/FLVVG | Animal feed - Quantitative determination of arsenic by AAS HG after microwave digestion | Animal feed | Metals | AAS HG | Derived method | Yes | Gentbrugge | 2020-12-07 | 6
I-MET-FLVVG-135 | 2017/I-MET-135/LAB/FLVVG | Fertilizers - Quantitative determination of elements soluble in aqua regia by ICP-AES | Fertilizers | Metals: As, Cd, Co, Cu, Cr, Ni, Pb, Se, Zn | ICPAES | Derived method | Yes | Gentbrugge | 2017-10-11 | 3
I-MET-FLVVG-223 | 2015/I-MET-223/LAB/FLVVG | Milk and milk products - Quantitative determination of chloride by IC | Milk and milk products | Chloride | Ionchromatography | In house method | Yes | Gentbrugge | 2020-11-20 | 3
I-MET-FLVVG-196 | 2015/I-MET-196/LAB/FLVVG | Water - Determination of elements by ICP-MS | water | Metals | ICP-MS | Derived method | Yes | Gentbrugge | 2020-04-29 | 5
I-MET-FLVVG-229-230-231 | 2019/I-MET-227/LAB/FLVVG | Contact Materials - Migration from metallic objects and determination of Arsenic, Cadmium, Cobalt, Lead and Antimony in the migration solution by ICP-MS | Contact materials | Migration of metals | ICP-MS | Derived method | Yes | Gentbrugge | 2019-05-17 | 2
I-MET-FLVVG-227-228-232-188-188c-189 | 2019/I-MET-227/LAB/FLVVG | Contact Materials - Migration from metallic objects and determination of Aluminium, Chrome, Cupper, Nickel and Selenium in the migration solution by ICP-OES | Contact materials | Migration of metals | ICPAES | Derived method | Yes | Gentbrugge | 2019-05-17 | 2
I-MET-FLVVG-081MeHg | 2016/I-MET-81MeHg/LAB/FLVVG | Food and feed - Quantative determination of methylmercury with EMA | Fish and aquaculture products, Animal feed | Methylmercury | EMA | Derived method | Yes | Gentbrugge | 2020-03-26 | 5
I-MET-FLVVT-156 | 2015/I-MET-156/LAB/FLVVT | Determination of residues of benzimidazoles in foodstuffs with LC-MS | Foodstuffs | Benzimidazoles | LC-MS | Derived method | Yes | Tervuren | 2017-10-01 | 6
I-MET-FLVVG-206 | 2017/I-MET-206/LAB/FLVVG | Food - Quantitative determination of elements with ICP-MS in extracts of food | Food | Metals | ICP-MS | Derived method | Yes | Gentbrugge | 2020-07-31 | 12
I-MET-LFSAL-013 | 2005/I-MET-013/LAB/LFSAL | Insoluble impurities | Fat for animal feed | Impurities | Gravimetry | In house method | Yes | Liège | 2016-06-21 | 6
I-MET-LFSAL-022 | 2009/I-MET-022/LAB/LFSAL | Aflatoxine M1 screening | Milk products | Aflatoxin | ELISA screening | In house method | Yes | Liège | 2017-08-24 | 5
I-MET-LFSAL-023 | 2006/I-MET-023/LAB/LFSAL | Aflatoxine M1 quantification | Milk products | Aflatoxin | HPLC | In house method | Yes | Liège | 2018-08-31 | 6
I-MET-LFSAL-015 | 2008/I-MET-015/LAB/LFSAL | Polymerised triglycerides | Oils and fats from animal and plant origin | Polymerised triglycerides | HPLC-RI | In house method | Yes | Liège | 2016-06-23 | 12
I-MET-LFSAL-024 | 2006/I-MET-024/LAB/LFSAL | Patuline | Apple-based products | Patuline | HPLC | In house method | Yes | Liège | 2016-06-23 | 6
I-MET-LFSAL-089 | 2006/I-MET-089/LAB/LFSAL | Animal meal and fish meal in animal feed | Animal feed | Animal meal and fish meal | Microscopie | Derived method | Yes | Liège | 2018-11-16 | 14
I-MET-LFSAL-132 | 2013/I-MET-132/LAB/LFSAL | Determination by ICP-OES of elements in animal feed, fertilizer, shellfish and bread | Animal feed, fertilizer, shellfish and bread | Ca, K, Mg, Na, P, S, Cu, Fe, Mn, Zn, Co, Mo, Se, B | ICP-OES | In house method | Yes | Liège | 2020-05-20 | 7
I-MET-FLVVG-057 | 2017/I-MET-059/LAB/FLVVG | Determination by ICP-OES of phosphorus in extracts of mineral fertilzers | Mineral fertilizers | P2O5 soluble in mineral acid | ICP-OES | Derived method | Yes | Gentbrugge | 2020-03-02 | 3
I-MET-FLVVG-065-066 | 2018/I-MET-065-066/LAB/FLVVG | Animal feed - Determination of Cd and Pb by AAS GF after microwave digestion | Animal feed | Cadmium, lead | AAS GF | Derived method | Yes | Gentbrugge | 2018-06-19 | 3
I-MET-FLVVG-079 | 2018/I-MET-079/LAB/FLVVG | Food - Determination of Cd and Pb by AAS GF in extracts of food | Food | Cadmium, lead | AAS GF | Derived method | Yes | Gentbrugge | 2020-06-19 | 4
| 2018/I-MET-FLVVG-222 | Water - Determination of dry residu at 180 °C | Water | Dry residu | Gravimetry | Derived method | Yes | Gentbrugge | 2018-07-19 | 2
| 2017/I-MET-209/FLVVG | Water - Quantitative determination of Al, B and Zn by ICP-OES | Water | Al, B, Zn | ICP-OES | Derived method | Yes | Gentbrugge | 2017-09-22 | 1
I-MET-FLVVG-233 | 2019/I-MET-233/LAB/FLVVG | Contact Materials - Migration of elements from materials destined to come into contact with food | Contact materials | Migration of metals | Preparation | Derived method | Yes | Gentbrugge | 2019-05-07 | 3
| 2019/I-MET-185/LAB/FLVVG | Food - Determination of Hg by ICP-MS in extracts of food | Food | Hg | ICP-MS | Official method | Yes | Gentbrugge | 2019-09-05 | 5
I-MET-FLVVG-196Hg | 2019/I-MET-196Hg/LAB/FLVVG | Water - Determination of mercury by ICP-MS | Water | Metals | ICP-MS | Official method | Yes | Gentbrugge | 2021-03-03 | 4
I-MET-FLVVG-081 | 2016/I-MET-081/LAB/FLVVG | Quantitative determination of mercury with Elemental Mercury Analyser (EMA) | Feed - Food - Fertilizers | mercury | EMA | Derived method | Yes | Gentbrugge | 2020-11-19 | 5
I-MET-FLVVG-175 | 2019/I-MET-175/LAB/FLVVG | Animal feed - Determination of selenium in extracts of feed by ICP-MS | Animal feed | Chemical elements | ICP-MS | Derived method | Yes | Gentbrugge | 2019-11-21 | 5
I-MET-FLVVM-083 | 2016-I-MET-041f-083-LAB-LFSAGx-FLVVM | Enumeration of Campylobacter spp. With Rapid Campylobacter (41,5 °C) | Food | Campylobacter spp. | Isolation on solid medium | Official method | Yes | Melle | 2020-04-27 | 2
I-MET-FLVVM-079 | 2016-I-MET-048d-079-LAB-LFSAGX-FLVVM | Enumeration of micro-organisms with TEMPO AC (30°C) | Food | Total plate count | TEMPO | Official method | Yes | Melle | 2016-03-04 | 1
I-MET-FLVVM-085 | 2016-I-MET-069-085-LAB-LFSAGX-FLVVM | Enumeration of coliforms and E. coli (36°C) | Water | Coliforms - E. coli | Isolation on solid medium | Official method | Yes | Melle | 2018-08-22 | 2
I-MET-FLVVM-087 | 2017-I-MET-087-LAB-FLVVM | Detection of pathogenic Yersinia enterocolitica (PCR) | Food | Yersinia enterocolitica | RT-PCR | Official method | Yes | Melle | 2017-12-18 | 2
I-MET-FLVVM-086 | 2017-I-MET-041g-086-LAB-LFSAGX-FLVVM | Detection of Campylo spp. in animal faeces | Animal faeces | Campylobacter spp. | Detection on plate | Official method | Yes | Melle | 2018-08-22 | 3
I-MET-FLVVM-082 | 2017-I-MET-046i-082-LAB-LFSAGX-FLVVM | Detection of presumably ESBL/AmpC and/or carbapenemase-producing E. coli | All foodstuffs, faeces / caeca of animal origin | ESBL/AmpC and/or carbapenemase-producing E. coli | Detection on plate after enrichment | Official method | Yes | Melle | 2019-07-22 | 3
I-MET-FLVVM-090 | 2018-I-MET-064a-090-LAB-LFSAGX-FLVVM | Detection of Cronobacter spp. | Milk and milk products | Cronobacter sakazakii | Detection on plate after enrichment | Official method | Yes | Melle | 2018-08-27 | 1
I-MET-FLVVM-089 | 2018-I-MET-047d-089-LAB-LFSAGX-FLVVM | Detection of Enterobacteriaceae (30°C) | Milk and milk products | Enterobacteriaceae | Detection on plate after enrichment | Official method | Yes | Melle | 2018-08-22 | 1
I-MET-LFSAL-029 | 2004/I-MET-029/LAB/LFSAL | Determination of nitrate | Vegetables and babyfood | Nitrate | HPLC-CI | Derived method | Yes | Liège | 2020-05-10 | 14
I-MET-LFSAL-010-049 | 2009/I-MET-010-049/LAB/LFSAL | Determination of urea and ureum nitrogen | Feed en fertilizers | Nitrogen | Gravimetry | Official method | Yes | Liège | 2018-09-14 | 3
I-MET-LFSAL-047 | 2009/I-MET-047-AZOTE ORGANIQUE/LAB/LFSAL | Determination of organic nitrogen | Fertilizer | Nitrogen | Calculation | In house method | Yes | Liège | 2018-11-06 | 4
I-MET-LFSAL-141 | 2015/I-MET-141/LAB/LFSAL | Flumethrin - screening | Fat | Flumethrin | HPLC-UV | In house method | Yes | Liège | 2019-11-12 | 5
I-MET-LFSAL-142 | 2014/I-MET-142/LAB/LFSAL | Total migration | Plastic material | Global migration analysis | Gravimetry | In house method | Yes | Liège | 2017-09-20 | 4
I-MET-LFSAL-150 | 2017/I-MET-150/LAB/LFSAL | Proteins | Food | Content of proteins | Titrimetry | In house method | Yes | Liège | 2019-10-22 | 4
I-MET-LFSAL-151 | 2017/I-MET-151/LAB/LFSAL | Ash | Food | Crude ash | Gravimetry | In house method | Yes | Liège | 2017-05-16 | 1
I-MET-LFSAL-032a | 2016/I-MET-032a/LAB/LFSAL | Determination of sulfite | Alcoholic beverages | Sulphur | Enzymatic | In house method | Yes | Liège | 2018-02-07 | 4
I-MET-FLVVT-158 | 2018/I-MET-158/LAB/FLVVT | Determination of Vitamine B1 in foodstuffs (HPLC) | Foodstuffs | Vitamine B1 | HPLC | Derived method | Yes | Tervuren | 2018-09-17 | 3
I-MET-FLVVT-159 | 2018/I-MET-159/LAB/FLVVT | Determination of Vitamine B2 in foodstuffs (HPLC) | Foodstuffs | Vitamine B2 | HPLC | Derived method | Yes | Tervuren | 2019-10-01 | 2
I-MET-FLVVT-160 | 2018/I-MET-160/LAB/FLVVT | Determination of Vitamine B6 in foodstuffs (HPLC) | Foodstuffs | Vitamine B6 | HPLC | Derived method | Yes | Tervuren | 2015-12-31 | 2
I-MET-FLVVT-172 | 2018/I-MET-172/LAB/FLVVT | Determination of Vitamine B3 (Nicotineamide) in foodstuffs (UPLC) | Foodstuffs | Nicotineamide | HPLC | Derived method | Yes | Tervuren | 2017-10-01 | 2
I-MET-FLVVT-170 | 2016/I-MET-170/LAB/FLVVT | Determination of residues of QCA and MQCA in meat with LC-MS | Meat | QCA / MQCA | LC-MS | Derived method | Yes | Tervuren | 2015-12-31 | 4
I-MET-FLVVG-062 | 2019/I-MET-062/LAB/FLVVG | Animal feed - Determination of iron, manganese, cupper, zinc and cobalt by ICP-AES | Animal feed | Trace elements | CP-AES | Official method | Yes | Gentbrugge | 2019-10-17 | 10
I-MET-FLVVG-076b | 2017/I-MET-076b/LAB/FLVVG | Food and feed - Quantative determination of iodine with ICP-MS after waterbath extraction | Food and Animal Feed | Iodine | ICP-MS | Official method | Yes | Gentbrugge | 2020-12-09 | 4